### Slide 1: The "Why" – Empowering Patients and Caregivers

- Visual: A powerful image of a wheelchair user and a caregiver, or a clean title slide.

- The Narrative: Frame the problem. Traditional health monitoring restricts movement. The Smart Wheel system changes this by offering continuous, non-invasive vital tracking directly from the chair, granting the patient independence and the caregiver peace of mind.

### Slide 2: The Big Picture – System Architecture Pipeline

- Visual: Pipeline.jpg

- The Narrative: Walk the audience through the journey of a single heartbeat or temperature reading. It starts at the sensors, gets cleaned up and validated by the onboard brain (ESP32), travels securely over Wi-Fi to the cloud, and lands instantly on the caregiver's phone.

### Slide 3: The Cast of Characters – Hardware Components

- Visuals: ESP32S-Board.webp, Max30100.jpg, MLX90614.jpg, and limit-switch.jpg arranged cleanly.

- The Narrative: Introduce what makes the system work in simple terms.

  - ESP32: The brain handling all the heavy lifting.

  - MAX30100: The optical sensor for heart rate and oxygen.

  - MLX90614: The non-contact infrared thermometer.

  - Limit Switch: The physical sensor to detect if the chair is occupied.

### Slide 4: Bringing It to Life – The Working Prototype (New)

- Visual: implementation.png (Large and centered).

- The Narrative: This is where you ground the project in reality. Point to the screen and say: "This is the actual system running. You can see the active red glow of the pulse oximeter taking a reading, sitting alongside the temperature sensor and the ESP32. We also engineered a robust circular connector (point to the bottom right) to safely integrate these electronics directly into the wheelchair's physical frame."

### Slide 5: How It Thinks – The Logic Flow

- Visual: flow_chart.png

- The Narrative: Explain the "smart" part of the Smart Wheel. Don't read the boxes; explain the system's reliability. Highlight "Graceful Degradation": if the patient moves their hand off the sensor, the system doesn't freeze or send errors. It smoothly pauses the heart rate data but keeps reliably transmitting body temperature and chair occupancy.

### Slide 6: Trusting the Data – Calibration and The Cloud

- Visuals: calibration.jpeg and firebase.png.

- The Narrative: Address the critical question of reliability.

  - Show the Fluke thermometer and explain that the system was scientifically calibrated against industrial instruments to ensure the readings are clinically valid.

  - Point to the Firebase snapshot to prove that this filtered, validated data successfully and securely reaches the cloud database in real-time.

### Slide 7: The End Result – The Caregiver Dashboard

- Visual: App_dashboard.png

- The Narrative: Bring it all together. Show how the complex hardware and logic translate into a clean, intuitive Arabic interface. Highlight the color-coded vitals and status labels. Mention that this live data empowers not only the human caregiver but also feeds directly into the system's AI chatbot for context-aware assistance.